|  | INTERNATIONAL TELECOMMUNICATION UNION |
| --- | --- |

ITU-T	K.26

TELECOMMUNICATION

STANDARDIZATION SECTOR

OF  ITU

PROTECTION  AGAINST  INTERFERENCE

PROTECTION  OF  TELECOMMUNICATION  LINES  AGAINST  HARMFUL  EFFECTS  FROM  ELECTRIC  POWER  AND  ELECTRIFIED  RAILWAY  LINES

ITU-T  Recommendation  K.26

(Extract from the Blue Book)

# NOTES

1	ITU-T Recommendation K.26 was published in Volume IX of the Blue Book. This file is an extract from the Blue Book. While the presentation and layout of the text might be slightly different from the Blue Book version, the contents of the file are identical to the Blue Book version and copyright conditions remain unchanged (see below).

2	In this Recommendation, the expression “Administration” is used for conciseness to indicate both a telecommunication administration and a recognized operating agency.

ã  ITU  1988, 1993

All rights reserved. No part of this publication may be reproduced or utilized in any form or by any means, electronic or mechanical, including photocopying and microfilm, without permission in writing from the ITU.

Recommendation K.26

Volume IX - Rec. K.26

PROTECTION OF TELECOMMUNICATION LINES AGAINST HARMFUL EFFECTS

FROM ELECTRIC POWER AND ELECTRIFIED RAILWAY LINES

(Melbourne, 1988)

The CCITT draws attention to the need for adequate and reliable protection to be given to telecommunication facilities to guard them against danger and disturbance arising from nearby electric power or electrified railway lines. The danger and disturbance can arise due to conductive, capacitive or inductive coupling between the systems, and the safety of people using or working on telecommunication installations needs to be assured.

To meet this need, the CCITT has issued the Directives concerning the protection of telecommunication lines against harmful effects from electric power and electrified railway lines, Geneva, 1988, which provide guidance in estimating possible overvoltages or overcurrents and recommending limiting values for these conditions. The Directives also give advice on methods used to measure overvoltages, overcurrents and relevant parameters, on protective devices and on protection methods and safety precautions.

The Directives (1988 edition) consist of nine volumes listed below:

Volume I	-	Design, construction and operational principles of telecommunication, power and electrified 			railway facilities

Volume II	-	Calculating induced voltages and currents in practical cases

Volume III	-	Capacitive, inductive and conductive coupling: physical theory and calculation methods

Volume IV	-	Inducing currents and voltages in power transmission and distribution systems

Volume V	-	Inducing currents and voltages in power transmission and distribution systems.

Volume VI	-	Danger and disturbance

Volume VII	-	Protective measures and safety precautions

Volume VIII	-	Protective devices

Volume IX	-	Test and measuring apparatus and methods.

These volumes have been established by the CCITT in close cooperation with the International Conference on Large High Voltage Electric Systems (CIGRE) and the International Union of Railways (UIC).

The CCITT recommends that, when telecommunication installations are expected to be affected by nearby power or electrified railway lines, Administrations will find it in their own interest to observe the methods given in the Directives (1988 edition).

The Directives (1988 edition) replace the Directives concerning the protection of telecommunication lines against harmful effects from electricity lines, (Geneva, 1963, amended and supplemented in 1965, 1974, 1978 and 1982).