

��

INTERNATIONAL  TELECOMMUNICATION  UNION��





ITU-T�P.51��TELECOMMUNICATION�STANDARDIZATION  SECTOR�OF  ITU�(08/96)   ��









SERIES P: TELEPHONE TRANSMISSION QUALITY

Objective measuring apparatus





Artificial Mouth



ITU-T  Recommendation  P.51

(Previously  “CCITT  Recommendation”)



�

ITU-T   P-SERIES  RECOMMENDATIONS

TELEPHONE TRANSMISSION QUALITY



���Vocabulary and effects of transmission parameters on customer opinion of transmission quality�P.10-P.29��Subscribers' lines and sets�P.300-P.399��Subscribers' lines and sets�P.30-P.39��Transmission standards�P.40-P.49��Objective measuring apparatus�P.500-P.599��Objective measuring apparatus�P.50-P.59��Objective electro-acoustical measurements�P.60-P.69��Measurements related to speech loudness�P.70-P.79��Methods for objective and subjective assessment of quality�P.800-P.999��Methods for objective and subjective assessment of quality�P.80-P.99�����For further details, please refer to ITU-T List of Recommendations.

�FOREWORD

The ITU-T (Telecommunication Standardization Sector) is a permanent organ of the International Telecommunication Union (ITU). The ITU-T is responsible for studying technical, operating and tariff questions and issuing Recommen�dations on them with a view to standardizing telecommunications on a worldwide basis.

The World Telecommunication Standardization Conference (WTSC), which meets every four years, establishes the topics for study by the ITU-T Study Groups which, in their turn, produce Recommendations on these topics.

The approval of Recommendations by the Members of the ITU-T is covered by the procedure laid down in WTSC Resolution No. 1 (Helsinki, March 1-12, 1993).

ITU-T Recommendation P.51, was revised by ITU-T Study Group 12 (1993-1996) and was approved under the WTSC Resolution No. 1 procedure on the 30th of August 1996.



___________________













NOTE

In this Recommendation, the expression “Administration” is used for conciseness to indicate both a telecommunication administration and a recognized operating agency.















ã  ITU  1997

All rights reserved. No part of this publication may be reproduced or utilized in any form or by any means, electronic or mechanical, including photocopying and microfilm, without permission in writing from the ITU.

�



CONTENTS

Recommendation P.51     (08/96)

Page

1	Scope		1

2	Normative references		1

3	Object		1

4	Definitions		1

5	Acoustic characteristics of the artificial mouth		2

5.1	Normalised free-field response		2

5.2	Normalised obstacle diffraction		5

5.3	Maximum deliverable sound pressure level		6

5.4	Distortion		6

5.5	Linearity		6

6	Miscellaneous		6

6.1	Delivery conditions		6

6.2	Stability		7

6.3	Stray magnetic field		7

6.4	Declaration of model type		7











































�



SUMMARY

The Recommendation specifies the acoustical and electrical characteristics of the Artificial Mouth used for telephonometric measurements.

The sound radiation patterns are specified at a number of points in front of the mouth, as well as the sound diffraction characteristics occurring by inserting a reference obstacle in the sound field generated by the mouth. Also the dynamic range of the generated sound is specified, as well as the linearity characteristics of the device.

The proposed revision of this Recommendation affects the latter aspects, namely the distortion and output linearity requirements of the Artificial Mouth.

























































�Recommendation P.51

Recommendation P.51     (08/96)

ARTIFICIAL  MOUTH

(Helsinki, 1993; revised in 1996)

1	Scope

This Recommendation specifies the artificial mouth for telephonometric use. The methods of use of the artificial mouth are outside the scope of this Recommendation.

2	Normative references

The following Recommendations, and other references contain provisions which, through reference in this text, constitute provisions of this Recommendation. At the time of publication, the editions indicated were valid. All Recommendations and other references are subject to revision; all users of this Recommendation are therefore encouraged to investigate the possibility of applying the most recent edition of the Recommendations and other references listed below. A list of the currently valid ITU-T Recommendations is regularly published.

–	ITU-T Recommendation P.50 (1993), Artificial voices.

–	ITU-T Recommendation P.64 (1993), Determination of sensitivity/frequency characteristics of local telephone systems.

–	CCITT Recommendation O.131 (1988), Quantizing distortion measuring equipment using a pseudo�random noise test signal.

3	Object

The artificial mouth is a device that approximates the acoustic field generated by the human mouth in the near field. It is used for measuring objectively the sending characteristics of handset-equipped telephone sets as specified in Recommendation P.64. It may also be used for measuring the sending characteristics of loudspeaking telephones at distances up to 0.5 m from the lip plane, but the accuracy with which it reproduces the sound field is slightly reduced.

4	Definitions

For the purposes of this Recommendation, the following definitions apply:

4.1	artificial mouth�: A device consisting of a loudspeaker mounted in an enclosure and having a directivity and radiation pattern similar to those of the average human mouth.�

4.2	lip ring�: Circular ring of thin rigid rod, having a diameter of 25 mm and less than 2 mm thick. It shall be constructed of non-magnetic material and be solidly fixed to the case of the artificial mouth. The lip ring defines both the reference axis of the mouth and the mouth reference point.�

4.3	lip plane�: Outer plane of the lip ring. The lip plane is normally different from the plane of the mouth simulator orifice.�

4.4	reference axis�: The line perpendicular to the lip plane containing the centre of the lip ring.�

4.5	vertical plane�: A plane containing the reference axis that divides the artificial mouth into symmetrical halves. It shall be vertically oriented in order to reproduce the acoustic field generated by a person in the upright position.�

4.6	horizontal plane�: The plane containing the reference axis, perpendicular to the vertical plane. It shall be horizontally oriented in order to reproduce the acoustic field generated by a person in the upright position.�

4.7	mouth reference point (MRP)�: The point on the reference axis, 25 mm in front of the lip plane.�

�4.8	normalised free-field response�: Difference in dB between the third-octave spectrum level of the signal delivered by the artificial mouth at a given point in the free field and the third-octave spectrum level of the signal delivered simultaneously at the MRP. The characteristic is measured by generating the artificial voice (see Recommendation P.50) a speech-shaped random noise, a pink noise, or other adequate wideband signals.�

4.9	reference obstacle�: Disc constructed of hard, stable and non-magnetic material, such as brass, having a diameter of 63 mm and 5 mm thick. In order to measure the normalised obstacle diffraction of the mouth simulator, it shall be fitted with a ¼ inch pressure microphone, mounted at the centre with the diaphragm flush with the disc surface facing the artificial mouth.�

4.10	normalised obstacle diffraction�: Difference in dB between the third-octave spectrum level of the acoustic pressure delivered by the artificial mouth at the surface of the reference obstacle and the third-octave spectrum level of the pressure simultaneously delivered at the point on the reference axis, 500 mm in front of the lip plane. The characteristic is defined for positions of the reference obstacle in front of the artificial mouth, with the disc axis coinciding with the reference axis, and is measured by generating the artificial voice (see Recommendation P.50), a speech�shaped random noise, a pink noise, or other adequate wideband signals.�

4.11	artificial voice�: A mathematically defined signal which reproduces human speech characteristics, relevant to the characterisation of linear and non-linear telecommunication systems. It is intended to give a satisfactory correlation between objective measurements and tests with real speech.�

4.12	electrical artificial voice�: The artificial voice produced as an electric signal, for testing transmission channels or other electric devices.�

4.13	acoustic artificial voice�: Acoustic signal at the MRP (Mouth Reference Point) of the artificial mouth. It complies with the same time and spectral specifications as the electrical artificial voice.�

5	Acoustic characteristics of the artificial mouth

5.1	Normalised free-field response

The normalised free-field response is specified at 17 points: ten in the near field and seven in the far field. Near-field points are listed in Table 1, while far-field points are listed in Table 2.

NOTE – It shall be noticed that points in Table 2 lie on a plane parallel to the lip plane.

TABLE  1/P.51

Coordinates of points in the near field

�Measurement point�On-axis displacement�from the lip plane�(mm)�Off-axis;�perpendicular displacement�(mm)��	1�	12.5�	  0��	2�	50�	  0��	3�	100�	  0��	4�	140�	  0��	5�	0�	20 horizontal��	6�	0�	40 horizontal��	7�	25�	20 horizontal��	8�	25�	40 horizontal��	9�	25�	20 vertical (downwards)��	10�	25�	40 vertical��



�TABLE  2/P.51

Coordinates of points in the far field

�Measurement point�Distance from�the lip plane�(mm)�Azimuth angle�(horizontal)�(degree)�Elevation angle�(vertical)�(degree)��11�500�	0�	0��12�500�	0�	+15��13�500�	0�	+30��14�500�	0�	-15��15�500�	0�	-30��16�500�15�	0��17�500�	30�	0��



Table 3 provides the normalised free-field response of the artificial mouth, together with tolerances, for the bandwidth between 100 Hz and 8 kHz. The requirements at each point not lying in the vertical plane shall also be met by the correspondent point in the symmetrical half-space.

The characteristic shall be checked by using appropriate microphones, as specified in Table 4. Pressure microphones shall be oriented with their axes perpendicular to the sound direction, while free-field microphones shall be oriented with their axes parallel to the direction of sound.

If a compressor microphone is used with the artificial mouth, it (or an equivalent dummy) shall be left in place while checking the normalised free-field response.

TABLE  3a/P.51

Normalised free-field response on axis in the near field

Frequency�Measurement point�������(Hz)�1�(dB)�2�(dB)�3�(dB)�4�(dB)�Tolerance�(dB)��	100�4.2�-5.0�	-11.0�-13.6�	±1.5��	125�4.2�-5.0�	-10.9�-13.6�	±1.5��	160�4.2�-5.0�	-10.7�-13.6�	±1.5��	200�4.0�-5.0�	-10.7�-13.3�	±1.5��	250�4.0�-5.0�	-10.6�-13.2�	±1.5��	315�4.0�-5.0�	-10.6�-13.2�	-1.5/+1��	400�4.0�-5.0�	-10.6�-13.2�	-1.5/+1��	500�4.1�-5.0�	-10.6�-13.2�	-1.5/+1��	630�4.2�-4.9�	-10.5�-13.4�	-1.5/+1��	800�4.2�-4.8�	-10.5�-13.4�	±1.0��	1000�4.1�-4.8�	-10.4�-12.9�	±1.0��	1250�3.9�-4.8�	-10.2�-12.7�	±1.0��	1600�3.8�-4.8�	-10.0�-12.7�	±1.0��	2000�3.6�-4.7�	-10.0�-12.7�	±1.0��	2500�3.5�-4.6�	-9.4�-12.3�	±1.0��	3150�3.6�-4.6�	-9.4�-12.0�	±1.0��	4000�3.7�-4.6�	-9.7�-12.3�	±1.5��	5000�3.7�-4.5�	-9.7�-12.6�	±1.5��	6300�3.8�-4.5�	-9.7�-12.6�	-1.5/+2��	8000�3.8�-4.9�	-10.0�-12.7�	-1.5/+2��



�TABLE  3b/P.51

Normalised free-field response off axis in the near field

Frequency�Measurement point���������(Hz)�5a)�(dB)�6�(dB)�7�(dB)�8�(dB)�9�(dB)�10�(dB)�Tolerance�(dB)��	100�5.2�-1.7�-1.4�-4.0�-1.6�-4.2�	±1.5��	125�5.2�-1.7�-1.3�-3.8�-1.5�-4.2�	±1.5��	160�5.2�-1.7�-1.2�-3.8�-1.5�-4.2�	±1.5��	200�5.2�-1.7�-1.2�-3.8�-1.5�-4.2�	±1.5��	250�5.2�-1.8�-1.3�-3.8�-1.4�-4.2�	±1.5��	315�5.1�-1.8�-1.3�-3.8�-1.3�-4.2�	±1.0��	400�5.1�-1.8�-1.3�-3.8�-1.3�-4.0�	±1.0��	500�5.0�-1.6�-1.3�-3.8�-1.3�-3.9�	-1.5/+1��	630�5.0�-1.6�-1.3�-3.8�-1.3�-3.9�	-1.5/+1��	800�5.0�-1.6�-1.3�-3.8�-1.3�-4.0�	-1.5/+1��	1000�4.8�-1.7�-1.3�-3.9�-1.3�-4.1�	-1.5/+1��	1250�4.8�-1.8�-1.4�-4.0�-1.3�-4.3�	-1.5/+1��	1600�4.7�-1.8�-1.4�-3.8�-1.3�-4.0�	-1.5/+1��	2000�4.7�-1.8�-1.2�-3.7�-1.3�-3.6�	-1.5/+1��	2500�4.7�-1.9�-1.0�-3.6�-1.1�-3.5�	-1.5/+1��	3150�4.7�-2.1�-1.1�-3.5�-1.2�-3.4�	-1.5/+1��	4000�4.5�-2.9�-1.5�-4.1�-1.3�-3.0�	±1.5��	5000�3.8�-4.0�-1.5�-4.8�-1.3�-3.7�	±1.5��	6300�3.2�-4.8�-1.8�-5.2�-1.7�-3.7�	±1.5��	8000�2.5�-5.2�-2.0�-6.0�-2.2�-4.2�	±1.5��a)	The measurements on the human mouth at point 5 are quite scattered, so the response at this point is only indicatively provided and no tolerance apply.���������





TABLE  3c/P.51

Normalised free-field response in the far field

�Measurement point�Frequency range�(100 Hz - 8 kHz)����Response�(dB)�Tolerance�(dB)��11�-24.0�-3/+4��12�-24.0�-3/+4��13�-25.0�± 3.0��14�-24.0�-3/+4��15�-25.0�± 3.0��16�-24.0�-3/+4��17�-25.0�± 3.0��





�TABLE  4/P.51

Recommended microphone types for free-field measurements

Measurement point�Microphone size (maximum)�(inch)�Microphone equalisation��1, 2, 5, 6, 7, 8, 9, 10�1/4�Pressure��3, 4�1/2 �Pressure��11, 12, 13, 14, 15, 16, 17�1�Free/field��MRP�1/4�Pressure��



5.2	Normalised obstacle diffraction

The normalised obstacle diffraction of the artificial mouth is defined at three points on the references axis, as specified in Table 5.

If a compressor microphone is used with the artificial mouth, it (or an equivalent dummy) shall be left in place while checking the normalised obstacle diffraction.

TABLE  5/P.51

Normalised obstacle diffraction

�Measurement point�����Frequency��(Hz)�18�(12,5 mm)�(dB)�19�(25 mm)�(dB)�20�(50 mm)�(dB)�Tolerance��(dB)��	100�34.2�28.5�23.2�	+3/-2��	125�34.0�28.5�22.9�	+3/-2��	160�34.0�28.8�22.9�	+3/-2��	200�33.2�28.0�22.1�	+3/-2��	250�33.2�28.0�22.0�	+3/-2��	315�33.9�28.5�22.5�	-1/+2.5��	400�33.8�28.5�22.4�	-1/+2.5��	500�33.3�27.9�21.9�	-1/+2.5��	630�33.0�27.5�21.5�	-1/+2.5��	800�32.1�26.6�20.9�	-1/+2.5��	1000�31.3�25.9�20.3�	-1/+2.5��	1250�31.0�25.8�20.3�	-1/+2.5��	1600�30.9�26.0�21.1�	-1/+2.5��	2000�30.6�26.7�22.0�	-1/+2.5��	2500�31.0�27.8�24.7�	-1/+2.5��	3150�31.0�28.0�24.0�	-1/+2.5��	4000�31.6�28.8�24.3�a)��	5000�33.2�28.4�23.9�a)��	6300�33.7�27.5�24.0�a)��	8000�32.0�24.5�19.5�a)��a)	Only indicative values – tolerances not specified.������



�5.3	Maximum deliverable sound pressure level

The artificial mouth shall be able to deliver steadily the acoustic artificial voice at sound pressure levels up to at least +6 dBPa at the MRP.

5.4	Distortion

5.4.1	Harmonic distortion

When delivering sine tones, with amplitudes up to +6 dBPa at the MRP, the harmonic distortion of the acoustic signal (delivered at the MRP) shall comply with the limits specified in Table 6.

TABLE  6/P.51

Maximum harmonic distortion of the artificial mouth

�2nd harmonic�3nd harmonic��100 Hz - 125 Hz�< 10%�< 10%��125 Hz - 200 Hz�< 4%�< 4%��200 Hz - 8 kHz�< 1%�< 1%��



Additionally to the requirement of Table 6, when delivering sine tones with frequencies between 1004 Hz and 1025 Hz with a level up to 10 dBPa the total harmonic distortion (2nd and 3rd harmonics) of the artificial mouth measured at the MRP shall not exceed 1.5%.

5.4.2	Total distortion

When delivering noise signals according to Recommendation O.131 with levels up to +5 dBPa at the MRP, the total distortion of the artificial mouth measured at the MRP shall not exceed 1.5%.

5.5	Linearity

Positive or negative variation of 6 dB of the feeding electrical signal shall produce corresponding variations of 6 dB ± 0.5 dB at the MRP for output pressures in the range from -14 dBPa to +6 dBPa. This requirement shall be met both for complex excitations, such as the artificial voice, and for sinusoidal excitations in the range from 100 Hz to 8 kHz.

NOTE – Better and less temperature dependent linearity performances can be achieved by controlling the electrical excitation current instead of the feeding voltage. For applications requiring better performances than here specified and extended dynamic ranges, it is recommended to individually calibrate the artificial mouth used and to compensate the measured data by taking into account the calibration results. An effective alternative technique also consists in monitoring the generated acoustic pressure by means of a measurement microphone placed at the acoustic outlet of the artificial mouth.

6	Miscellaneous

6.1	Delivery conditions

The artificial mouth shall be delivered by the manufacturer with the mechanical fixtures required to place the ½ inch calibration microphone at the MRP, as specified in Recommendation P.64. Suitable markings shall be engraved on the device housing for identifying the vertical plane position.

Each artificial mouth shall be delivered with a calibration chart specifying the free-field radiation and obstacle diffraction characteristics as defined in this Recommendation.

�6.2	Stability

The device shall be stable and reproducible.

6.3	Stray magnetic field

Neither the d.c. nor the a.c. magnetic stray fields generated by the artificial mouth shall influence the signal transduced by microphone under test.

It is recommended that the a.c. stray field produced at the MRP shall lie below the curve formed by the coordinates given in Table 7.

TABLE  7/P.51

Frequency�(Hz)�Magnetic output�(dB A/m/Pa)��	200�-10��	1 000�-40��	10 000�-40��



It is also recommended that the d.c. stray field at the MRP be lower than 400 A/m.

NOTE – The recommended d.c. stray field limit of 400 A/m applies specifically to artificial mouths intended for measuring electromagnetic microphones. For measuring other kinds of microphones, a higher limit of 1200 A/m is acceptable.

6.4	Declaration of model type

The artificial mouth used shall always be stated in test reports.

NOTE – The use of different artificial mouths that comply with this Recommendation may give different results within the tolerances specified above. To increase the measurement precision, suitable compensation techniques shall then be used in the measurement methodologies in order to correct for the individual differences.































��ITU-T  Recommendations  series

 Series  A	Organization of the work of the ITU-T

 Series  B	Means of expression

 Series  C	General telecommunication statistics

 Series  D	General tariff principles

 Series  E	Telephone network and ISDN

 Series  F	Non-telephone telecommunication services

 Series  G	Transmission systems and media

 Series  H	Transmission of non-telephone signals

 Series  I	Integrated services digital network

 Series  J	Transmission of sound-programme and television signals

 Series  K	Protection against interference

 Series  L	Construction, installation and protection of cables and other elements of outside plant

 Series  M	Maintenance:  international transmission systems, telephone circuits, telegraphy, facsimile and leased circuits

 Series  N	Maintenance:  international sound-programme and television transmission circuits

 Series  O	Specifications of measuring equipment

 Series  P	Telephone transmission quality

 Series  Q	Switching and signalling

 Series  R	Telegraph transmission

 Series  S	Telegraph services terminal equipment

 Series  T	Terminal equipments and protocols for telematic services

 Series  U	Telegraph switching

 Series  V	Data communication over the telephone network

 Series  X	Data networks and open system communication

 Series  Z	Programming languages

_______________



		Page – � PAGE �1� –



�PAGE�ii�	�styleref head_foot�Recommendation P.51     (08/96)�



		�styleref head_foot�Recommendation P.51     (08/96)�	�PAGE�iii�



�PAGE�6�	�styleref head_foot�Recommendation P.51     (08/96)�



		�styleref head_foot�Recommendation P.51     (08/96)�	�PAGE�7�













�PAGE \# "'Page: '#'�'"  �Page: 1���T: artificial mouth

�PAGE \# "'Page: '#'�'"  �Page: 1���D: A device consisting of a loudspeaker mounted in an enclosure and having a directivity and radiation pattern similar to those of the average human mouth.

�PAGE \# "'Page: '#'�'"  �Page: 1���T: lip ring

�PAGE \# "'Page: '#'�'"  �Page: 1���D: Circular ring of thin rigid rod, having a diameter of 25 mm and less than 2 mm thick. It shall be constructed of non-magnetic material and be solidly fixed to the case of the artificial mouth. The lip ring defines both the reference axis of the mouth and the mouth reference point.

�PAGE \# "'Page: '#'�'"  �Page: 1���T: lip plane

�PAGE \# "'Page: '#'�'"  �Page: 1���D: Outer plane of the lip ring. The lip plane is normally different from the plane of the mouth simulator orifice.

�PAGE \# "'Page: '#'�'"  �Page: 1���T: reference axis

�PAGE \# "'Page: '#'�'"  �Page: 1���D: The line perpendicular to the lip plane containing the centre of the lip ring.

�PAGE \# "'Page: '#'�'"  �Page: 1���T: vertical plane

�PAGE \# "'Page: '#'�'"  �Page: 1���D: A plane containing the reference axis that divides the artificial mouth into symmetrical halves. It shall be vertically oriented in order to reproduce the acoustic field generated by a person in the upright position.

�PAGE \# "'Page: '#'�'"  �Page: 1���T: horizontal plane

�PAGE \# "'Page: '#'�'"  �Page: 1���D: The plane containing the reference axis, perpendicular to the vertical plane. It shall be horizontally oriented in order to reproduce the acoustic field generated by a person in the upright position.

�PAGE \# "'Page: '#'�'"  �Page: 1���T: mouth reference point (MRP)

�PAGE \# "'Page: '#'�'"  �Page: 1���D: The point on the reference axis, 25 mm in front of the lip plane.

�PAGE \# "'Page: '#'�'"  �Page: 2���T: normalised free-field response

�PAGE \# "'Page: '#'�'"  �Page: 2���D: Difference in dB between the third-octave spectrum level of the signal delivered by the artificial mouth at a given point in the free field and the third-octave spectrum level of the signal delivered simultaneously at the MRP. The characteristic is measured by generating the artificial voice (see Recommendation P.50) a speech-shaped random noise, a pink noise, or other adequate wideband signals.

�PAGE \# "'Page: '#'�'"  �Page: 2���T: reference obstacle

�PAGE \# "'Page: '#'�'"  �Page: 2���D: Disc constructed of hard, stable and non-magnetic material, such as brass, having a diameter of 63 mm and 5 mm thick. In order to measure the normalised obstacle diffraction of the mouth simulator, it shall be fitted with a ¼ inch pressure microphone, mounted at the centre with the diaphragm flush with the disc surface facing the artificial mouth.

�PAGE \# "'Page: '#'�'"  �Page: 2���D: normalised obstacle diffraction

�PAGE \# "'Page: '#'�'"  �Page: 2���D: Difference in dB between the third-octave spectrum level of the acoustic pressure delivered by the artificial mouth at the surface of the reference obstacle and the third-octave spectrum level of the pressure simultaneously delivered at the point on the reference axis, 500 mm in front of the lip plane. The characteristic is defined for positions of the reference obstacle in front of the artificial mouth, with the disc axis coinciding with the reference axis, and is measured by generating the artificial voice (see Recommendation P.50), a speech�shaped random noise, a pink noise, or other adequate wideband signals.

�PAGE \# "'Page: '#'�'"  �Page: 2���T: artificial voice

�PAGE \# "'Page: '#'�'"  �Page: 2���D: A mathematically defined signal which reproduces human speech characteristics, relevant to the characterisation of linear and non-linear telecommunication systems. It is intended to give a satisfactory correlation between objective measurements and tests with real speech.

�PAGE \# "'Page: '#'�'"  �Page: 2���T: electrical artificial voice

�PAGE \# "'Page: '#'�'"  �Page: 2���D: The artificial voice produced as an electric signal, for testing transmission channels or other electric devices.

�PAGE \# "'Page: '#'�'"  �Page: 2���T: acoustic artificial voice

�PAGE \# "'Page: '#'�'"  �Page: 2���D: Acoustic signal at the MRP (Mouth Reference Point) of the artificial mouth. It complies with the same time and spectral specifications as the electrical artificial voice.






